## Removal_calculation
Substances to be added | List | ATC code | CAS number | SMILES | InChI Key | Molecular weight | Primary (conventional settelers) | Secondary (biological) | Tertiary (e.g. metal salts) | Advanced treatment (Chlorination, UV) | Ozone | AC | Ozonation and AC combined
Acetaminophen (paracetamol) | De Voogt et al 2009; Zhou et al 2019 | N02BE01 | 103-90-2 | CC(=O)NC1=CC=C(O)C=C1 | RZVAJINKPMORJF-UHFFFAOYSA-N | 151.1626 | 3.2333 | 96.9 | 94 | 99 | 85 | 100
Amisulpride | Swiss indicator; Zhou et al 2019 | N05AL05 | 71675-85-9 | CCN1CCCC1CNC(=O)C1=CC(=C(N)C=C1OC)S(=O)(=O)CC | NTJOBXMMWNYJFB-UHFFFAOYSA-N | 369.479 |  | 1 | 0 | 0 | 77.5
Amoxycillin | De Voogt et al 2009; EU watch list to Directive 2008/105/EC | J01CA04 | 26787-78-0 | [H][C@]12SC(C)(C)[C@@H](N1C(=O)[C@H]2NC(=O)[C@H](N)C1=CC=C(O)C=C1)C(O)=O | LSQZJLSUYDQPKJ-NJBDSQKTSA-N | 365.404 | 14 | 74.3333 |  | 99 | 97.5 | 84.4
Atenolol | De Voogt et al 2009 | C07AB03 | 29122-68-7 | CC(C)NCC(O)COC1=CC=C(CC(N)=O)C=C1 | METKIMKYRPQLGS-UHFFFAOYSA-N | 266.3361 | 0 | 36.77 | 28.2333 | 53.6429 | 75.875 | 89.75
Atorvastatin | Zhou et al 2019 | C10AA05 | 134523-00-5 | CC(C)C1=C(C(=O)NC2=CC=CC=C2)C(=C(N1CC[C@@H](O)C[C@@H](O)CC(O)=O)C1=CC=C(F)C=C1)C1=CC=CC=C1 | XUKUURHRXDUEBC-KAYWLYCHSA-N | 558.6398 |  | 84 |  | 84.6
Azithromycin | NORMAN category 2: EU watch list | J01FA10; S01AA26 | 83905-01-5 | CC[C@H]1OC(=O)[C@H](C)[C@@H](O[C@H]2C[C@@](C)(OC)[C@@H](O)[C@H](C)O2)[C@H](C)[C@@H](O[C@@H]2O[C@H](C)C[C@@H]([C@H]2O)N(C)C)[C@](C)(O)C[C@@H](C)CN(C)[C@H](C)[C@@H](O)[C@]1(C)O | MQTOSJVFKKJCRP-BICOPXKESA-N | 748.9845 | 13.5 | 19.8 |  | 43.1667 | 88.5 | 88
Benzotriazole | Swiss indicator | Multiple uses, mainly antimicrobial | 95-14-7 | C1=CC2=NNN=C2C=C1 | QRUDEWIWKLJBPS-UHFFFAOYSA-N | 119.12 |  | 62 |  | 15.3333 | 72.3333 | 69
beta-estradiol (E2) | Zhou et al 2019: EU watch list | G03CA03 | 50-28-2 | [H][C@@]12CC[C@H](O)[C@@]1(C)CC[C@]1([H])C3=C(CC[C@@]21[H])C=C(O)C=C3 | VOXZDWNPVJITMN-ZBRFXRBCSA-N | 272.382 | 10 | 69.5 |  | 90 | 61 | 61
Bezafibrate | De Voogt et al 2009; Zhou et al 2019 | C10AB02 | 41859-67-0 | CC(C)(OC1=CC=C(CCNC(=O)C2=CC=C(Cl)C=C2)C=C1)C(O)=O | IIBYAHWJQTYFKB-UHFFFAOYSA-N | 361.819 | 0 | 39.2857 | 31.275 | 80 | 79.8 | 79
Candesartan | Swiss indicator | C09CA06 | 139481-59-7 | CCOC1=NC2=CC=CC(C(O)=O)=C2N1CC1=CC=C(C=C1)C1=CC=CC=C1C1=NN=NN1 | HTQMVQVXFRQIKW-UHFFFAOYSA-N | 440.454 |  | 0 |  |  | 63
Carbamazepine | Swiss indicator; NORMAN cat. 1; De Voogt et al 2009; Zhou et al 2019 | N03AF01 | 298-46-4 | NC(=O)N1C2=CC=CC=C2C=CC2=CC=CC=C12 | FFGPTBGBLSHEPO-UHFFFAOYSA-N | 236.2686 | 13.6 | 8.6333 | 25.4167 | 31.87 | 98.5 | 95.6667
Ciprofloxacin | De Voogt et al 2009; Zhou et al 2019: NORMAN cat. 2; EU watch list to Directive 2008/105/EC | S01AE03; S02AA15; S03AA07; J01MA02 | 85721-33-1 | OC(=O)C1=CN(C2CC2)C2=CC(N3CCNCC3)=C(F)C=C2C1=O | MYSWGUAQZAJSOK-UHFFFAOYSA-N | 331.3415 | 0 | 68 | 46 | 68.75 | 67.25 | 81
Citalopram | Swiss indicator; Zhou et al 2019 | N06AB04 | 59729-33-8 | CN(C)CCCC1(OCC2=C1C=CC(=C2)C#N)C1=CC=C(F)C=C1 | WSEQXVZVJXJVFP-UHFFFAOYSA-N | 324.3919 | 31 | 10.5 |  | 0 | 95.5
Clarithromycin | Swiss indicator; De Voogt et al 2009; Zhou et al 2019; NORMAN cat. 2: EU watch list to Directive 2008/105/EC | J01FA09 | 81103-11-9 | [H][C@@]1(C[C@@](C)(OC)[C@@H](O)[C@H](C)O1)O[C@H]1[C@H](C)[C@@H](O[C@]2([H])O[C@H](C)C[C@@H]([C@H]2O)N(C)C)[C@@](C)(C[C@@H](C)C(=O)[C@H](C)[C@@H](O)[C@](C)(O)[C@@H](CC)OC(=O)[C@@H]1C)OC | AGOYDEPGAOXOCK-KCBOHYOISA-N | 747.9534 | 7 | 18.3333 | 72.9 | 43.3667 | 86.8 | 96
Clofibric acid | De Voogt et al 2009 | Metabolite | 882-09-7 | CC(C)(C(=O)O)OC1=CC=C(C=C1)Cl | TXCGAZHTZHNUAI-UHFFFAOYSA-N | 214.64 |  | 36.54 | 33.6 | 67.95 | 76.25 | 90
Clotrimazole | EU watch list to Directive 2008/105/EC | A01AB18, D01AC01, G01AF02 | 23593-75-1 | ClC1=CC=CC=C1C(N1C=CN=C1)(C1=CC=CC=C1)C1=CC=CC=C1 | VNFPBHJOKIVQEB-UHFFFAOYSA-N | 344.837 |  | 15 |  | 55
Codeine | De Voogt et al 2009 | R05DA04 | 76-57-3 | [H][C@]12C=C[C@H](O)[C@@H]3OC4=C5C(C[C@H]1N(C)CC[C@@]235)=CC=C4OC | OROGSEYTTFOCAN-DNJOTXNNSA-N | 299.3642 |  | 50 | 35 |  | 87
Cyclophosphamide | De Voogt et al 2009 | L01AA01 | 50-18-0 | ClCCN(CCCl)P1(=O)NCCCO1 | CMSMOCZEIVJLDB-UHFFFAOYSA-N | 261.086 |  | 30 |  | 0 | 33 | 41
Dextropropoxyphene | Zhou et al 2019 | N02AC04 | 469-62-5 | CCC(=O)O[C@@](CC1=CC=CC=C1)([C@H](C)CN(C)C)C1=CC=CC=C1 | XLMALTXPSGQGBX-GCJKJVERSA-N | 229.4712 |  | 0 | 0 | 0
Diazepam | De Voogt et al 2009; EU watch list to Directive 2008/105/EC | N05BA01 | 439-14-5 | CN1C2=C(C=C(Cl)C=C2)C(=NCC1=O)C1=CC=CC=C1 | AAOVKJBEBIDNHE-UHFFFAOYSA-N | 284.74 |  | 13.65 |  | 26.5 | 90 | 98
Diclofenac | Swiss indicator; NORMAN CEC for WWTP; De Voogt et al 2009; Zhou et al 2019: NORMAN cat. 1: EU watch list to Directive 2008/105/EC | D11AX18; M01AB05; M01AB0; S01BC03 | 15307-86-5 | OC(=O)CC1=CC=CC=C1NC1=C(Cl)C=CC=C1Cl | DCOPUUMXTXDBNB-UHFFFAOYSA-N | 296.149 | 14.54 | 33.6778 | 14.75 | 62.0444 | 95.4286 | 77.4
Erythromycin | De Voogt et al 2009; Zhou et al 2019: NORMAN cat. 2: EU watch list to Directive 2008/105/EC | D10AF02; J01FA01; S01AA17 | 114-07-8 | CC[C@H]1OC(=O)[C@H](C)[C@@H](O[C@H]2C[C@@](C)(OC)[C@@H](O)[C@H](C)O2)[C@H](C)[C@@H](O[C@@H]2O[C@H](C)C[C@@H]([C@H]2O)N(C)C)[C@](C)(O)C[C@@H](C)C(=O)[C@H](C)[C@@H](O)[C@]1(C)O | ULGZDMOVFRHVEP-RWJQBGPGSA-N | 733.9268 | 0 | 25.2571 | 4.3 | 33.7667 | 90.6667 | 56.5
estriol | Zhou et al 2019 | G03CA04; G03CC06 | 50-27-1 | [H][C@@]12C[C@@H](O)[C@H](O)[C@@]1(C)CC[C@]1([H])C3=C(CC[C@@]21[H])C=C(O)C=C3 | PROQIPRRNZUXQM-ZXXIGWHRSA-N | 288.3814 | 0 | 82.5 |  | 99 | 90 | 98
estrone (E1) | Zhou et al 2019: NORMAN cat. 1; EU watch list | G03CA07; G03CC04 | 53-16-7 | [H][C@@]12CCC(=O)[C@@]1(C)CC[C@]1([H])C3=C(CC[C@@]21[H])C=C(O)C=C3 | DNXHEGUUPJUMQT-CBZIJGRNSA-N | 270.3661 | 2.3333 | 43.1571 |  | 87.3333 | 89.3333 | 96
Ethinylestradiol (EE2) | Zhou et al 2019 | G03CA01, L02AA03 | 57-63-6 | [H][C@@]12CC[C@@](O)(C#C)[C@@]1(C)CC[C@]1([H])C3=C(CC[C@@]21[H])C=C(O)C=C3 | BFPYWIDHMRZLRN-SLHNCBLASA-N | 296.4034 | 13.5 | 42.5 |  | 96 | 90
Fluconazole | EU watch list to Directive 2008/105/EC | D01AC15, J02AC01 | 86386-73-4 | OC(CN1C=NC=N1)(CN1C=NC=N1)C1=C(F)C=C(F)C=C1 | RFHAOTPXVQNOHP-UHFFFAOYSA-N | 306.2708 |  | 15 |  | 0.5 | 26.6667 | 75.5
Fluoxetine | Zhou et al 2019 | N06AB03 | 54910-89-3 | CNCCC(OC1=CC=C(C=C1)C(F)(F)F)C1=CC=CC=C1 | RTHCYVBBDHJXIQ-UHFFFAOYSA-N | 309.3261 |  | 35.5 | 61.9 | 50.3 | 99 | 99
Gabapentin | NORMAN | N03AX12 | 60142-96-3 | NCC1(CC(O)=O)CCCCC1 | UGJMXCAKCUNAIE-UHFFFAOYSA-N | 171.2368 |  | 15.4 |  | 40.5 | 57.25 | 17.4
Gemfibrozil | De Voogt et al 2009 | C10AB04 | 25812-30-0 | CC1=CC(OCCCC(C)(C)C(O)=O)=C(C)C=C1 | HEMJJKBWTPKOJG-UHFFFAOYSA-N | 250.3334 | 0 | 31.7 | 75.5 | 68.72 | 94.3333 | 91.3333
Hydrochlorothiazide | Swiss indicator; De Voogt et al 2009 | C03AA03 | 58-93-5 | NS(=O)(=O)C1=C(Cl)C=C2NCNS(=O)(=O)C2=C1 | JZUFKLXOESDKRF-UHFFFAOYSA-N | 297.739 | 0 | 21.26 | 53.2 | 7 | 92 | 88
Irbesartan | Swiss indicator | C09CA04 | 138402-11-6 | CCCCC1=NC2(CCCC2)C(=O)N1CC1=CC=C(C=C1)C1=CC=CC=C1C1=NNN=N1 | YOSHYTLCDANDAN-UHFFFAOYSA-N | 428.5294 |  | 0 |  | 0 | 41.3333 | 99
Ibuprofen | De Voogt et al 2009 | M01AE01; C01EB16; G02CC01; M02AA13; R02AX02 | 15687-27-1 | CC(C)CC1=CC=C(C=C1)C(C)C(O)=O | HEFNNWSXXWATRW-UHFFFAOYSA-N | 206.2808 | 30.314 | 56.8571 | 73.75 | 52.3 | 76 | 87.5
Lincomycin | De Voogt et al 2009 | J01FF02 | 154-21-2 | [H][C@]1(C[C@@H](CCC)CN1C)C(=O)N[C@H]([C@@H](C)O)[C@H]1O[C@H](SC)[C@H](O)[C@@H](O)[C@H]1O | OJMMVQQUTAEWLP-KIDUDLJLSA-N | 406.54 | 4 | 3.5 | 47.25 | 83.6 | 100
Metoprolol | Swiss indicator; De Voogt et al 2009 | C07AB02 | 51384-51-1 | COCCC1=CC=C(OCC(O)CNC(C)C)C=C1 | IUBSYMUCCVWXPE-UHFFFAOYSA-N | 267.3639 | 11 | 9.92 | 8.75 | 37.9 | 88.8333 | 96.5
Miconazole | EU watch list to Directive 2008/105/EC | A01AB09, A07AC01, D01AC02 ,G01AF04, J02AB01, S02AA13 | 22916-47-8 | ClC1=CC(Cl)=C(COC(CN2C=CN=C2)C2=C(Cl)C=C(Cl)C=C2)C=C1 | BYBLEWFAAKGYCD-UHFFFAOYSA-N | 416.129 |  | 44.0667 |  | 99
4-Acetamidoantipyrine | Zhou et al 2019 | Metabolite | 83-15-8 | CN1N(C(=O)C(NC(C)=O)=C1C)C1=CC=CC=C1 | OIAGWXKSCXPNNZ-UHFFFAOYSA-N | 245.28 |  | 30 | 46.1 |  | 98 | 34
Naproxen | De Voogt et al 2009 | G02CC02; M01AE02; M02AA12 | 22204-53-1 | COC1=CC2=C(C=C1)C=C(C=C2)[C@H](C)C(O)=O | CMWTZPSULFXXJA-VIFPVBQESA-N | 230.2592 | 30 | 60.75 | 58.225 | 66.5714 | 84.75 | 90
4-Formylaminoantipyrine | Zhou et al 2019 | Metabolite | 1672-58-8 | CC1=C(C(=O)N(N1C)C2=CC=CC=C2)NC=O | WSJBSKRPKADYRQ-UHFFFAOYSA-N | 231.25 |  | 22.5 | 68.2 |  | 57 | 78
Norfloxatin | Zhou et al 2019 | S01AE02, J01MA06 | 70458-96-7 | CCN1C=C(C(O)=O)C(=O)C2=CC(F)=C(C=C12)N1CCNCC1 | OGJPXUAPXNRGGI-UHFFFAOYSA-N | 319.3308 | 0 | 82 | 0 | 77.1167 | 91.3333 | 90.5
O-desmethylvenlafaxine | EU watch list to Directive 2008/105/EC | Metabolite | 93413-62-8 | CN(C)CC(C1=CC=C(C=C1)O)C2(CCCCC2)O | KYYIDSXMWOZKMP-UHFFFAOYSA-N | 263.37 |  | 61 |  |  | 90.5 | 83
Ofloxacin | De Voogt et al 2009; Zhou et al 2019; NORMAN cat. 2 | J01MA01; S01AE01; S02AA16 | 82419-36-1 | CC1COC2=C3N1C=C(C(O)=O)C(=O)C3=CC(F)=C2N1CCN(C)CC1 | GSDSWSVVBLHKDQ-UHFFFAOYSA-N | 361.3675 | 5 | 22.95 | 54.3667 | 88.88 | 100
Oxypurinol | NORMAN | Metabolite | 2465-59-0 | O=C1NC2=C(C=NN2)C(=O)N1 | HXNFUBHNUDHIGC-UHFFFAOYSA-N | 152.1109 |  |  |  |  | 88 | 80
Oxytetracycline | Zhou et al 2019 | D06AA03, G01AA07, J01AA06, S01AA04 | 79-57-2 | [H][C@@]12[C@@H](O)[C@@]3([H])C(C(=O)C4=C(C=CC=C4O)[C@@]3(C)O)=C(O)[C@]1(O)C(=O)C(C(N)=O)=C(O)[C@H]2N(C)C | IWVCMVBTMGNXQD-PXOLEDIWSA-N | 460.434 | 8 | 64 | 80.4 | 98.1 | 100 | 99
Paraxanthine | Zhou et al 2019 | Metabolite | 611-59-6 | CN1C=NC2=C1C(=O)N(C(=O)N2)C | QUNWUDVFRNGTCO-UHFFFAOYSA-N | 180.16 |  | 99 | 96.9 | 100
Pentoxifylline | Zhou et al 2019 | C04AD03 | 6493-05-6 | CN1C=NC2=C1C(=O)N(CCCCC(C)=O)C(=O)N2C | BYPFEZZEUUWMEJ-UHFFFAOYSA-N | 278.307 | 5.7 | 26 | 85 | 52 | 97.5
Propyphenazone | Zhou et al 2019 | N02BB04 | 479-92-5 | CC(C)C1=C(C)N(C)N(C1=O)C1=CC=CC=C1 | PXWLVJLKJGVOKE-UHFFFAOYSA-N | 230.311 |  | 21.35 |  | 82.3 |  | 100
Ranitidine | De Voogt et al 2009; Zhou et al 2019 | A02BA02 | 66357-35-5 | CNC(NCCSCC1=CC=C(CN(C)C)O1)=C[N+]([O-])=O | VMXUWOKSQNHOCA-UHFFFAOYSA-N | 314.4 |  | 36.8 | 31.2 | 67.6667 | 75.5 | 96
Roxithromycin | Zhou et al 2019 | J01FA06 | 80214-83-1 | CC[C@H]1OC(=O)[C@H](C)[C@@H](O[C@H]2C[C@@](C)(OC)[C@@H](O)[C@H](C)O2)[C@H](C)[C@@H](O[C@@H]2O[C@H](C)C[C@@H]([C@H]2O)N(C)C)[C@](C)(O)C[C@@H](C)C(=NOCOCCOC)[C@H](C)[C@@H](O)[C@]1(C)O | RXZBMPWDPOLZGW-XMRMVWPWSA-N | 837.0465 | 3 | 12.3333 | 75.4 | 59.2 | 88 | 99
Sotalol | De Voogt et al 2009 | C07AA07 | 3930-20-9 | CC(C)NCC(O)C1=CC=C(NS(C)(=O)=O)C=C1 | ZBMZVLHSJCTVON-UHFFFAOYSA-N | 272.364 | 0 | 23 | 15.25 | 17.5 | 96.2 | 90.3333
Spiramycin | Zhou et al 2019 | J01FA02 | 24916-50-5 | [H][C@@]1(CC[C@@H]([C@@H](C)O1)N(C)C)O[C@H]1\C=C\C=C\C[C@@H](C)OC(=O)C[C@@H](O)[C@H](OC)[C@@H](O[C@]2([H])O[C@H](C)[C@@H](O[C@@]3([H])C[C@@](C)(O)[C@@H](O)[C@H](C)O3)[C@@H]([C@H]2O)N(C)C)[C@@H](CC=O)C[C@H]1C | ACTOXUHEUCPTEW-CEUOBAOPSA-N | 843.065 |  | 0 | 54 | 99
Sulfadiazine | Zhou et al 2019 | J01EC02 | 68-35-9 | NC1=CC=C(C=C1)S(=O)(=O)NC1=NC=CC=N1 | SEEPANYCNGTZFQ-UHFFFAOYSA-N | 250.277 | 1.5 | 30.6667 | 14.35 | 65.78 | 79 | 0
Sulfamethoxazole | EU watch list to Directive 2008/105/EC | J01EC01 | 723-46-6 | CC1=CC(NS(=O)(=O)C2=CC=C(N)C=C2)=NO1 | JLKIGFTWXXRPMT-UHFFFAOYSA-N | 253.278 | 9.5 | 33.2182 | 5.7667 | 78.6 | 95.1667 | 68
Sulfapyridine | Zhou et al 2019 | J01EB04 | 144-83-2 | NC1=CC=C(C=C1)S(=O)(=O)NC1=CC=CC=N1 | GECHUMIMRBOMGK-UHFFFAOYSA-N | 249.289 | 0 | 39 | 24.5 | 60.9333 | 93 | 85
Tramadol | Zhou et al 2019 | N02AX02 | 27203-92-5 | COC1=CC=CC(=C1)C1(O)CCCCC1CN(C)C | TVYLLZQTGLZFBW-UHFFFAOYSA-N | 263.381 |  |  |  | 14 | 99 | 98
Trimethoprim | NORMAN; EU watch list to Directive 2008/105/EC; De Voogt et al 2009 | J01EA01 | 738-70-5 | COC1=CC(CC2=CN=C(N)N=C2N)=CC(OC)=C1OC | IEDVJHCEMCRBQM-UHFFFAOYSA-N | 290.3177 | 14 | 23.6 | 37.0333 | 32.9167 | 92 | 92
Valsartan | Zhou et al., 2019 | C09CA03 | 137862-53-4 | CCCCC(=O)N(CC1=CC=C(C=C1)C1=CC=CC=C1C1=NNN=N1)[C@@H](C(C)C)C(O)=O | ACWBQPMHZXGDFX-QFIPXVFZSA-N | 435.5188 |  | 30 |  | 47 | 70.3333 | 77
Venlafaxine | Swiss indicator; Zhou et al 2019 | N06AX16 | 93413-69-5 | COC1=CC=C(C=C1)C(CN(C)C)C1(O)CCCCC1 | PNVNVHUZROJLTJ-UHFFFAOYSA-N | 277.4018 |  | 13.3333 |  | 31.6667 | 89.25 | 72.5
Zidovudine | Zhou et al 2019 | J05AF01 | 30516-87-1 | CC1=CN([C@H]2C[C@H](N=[N+]=[N-])[C@@H](CO)O2)C(=O)NC1=O | HBOMLICNUCNMMY-XLPZGREQSA-N | 267.2413 |  | 99 | 34 | 67
[6 empty] | Average removal | 7.8942 | 36.1615 | 42.4719 | 55.4303 | 83.0037 | 81.0996 | 82.1233
[7 empty] | 9.1757 | 26.9145 | 28.5059 | 32.1569 | 17.0615 | 22.2026 | 19.5191
[6 empty] | Min removal | 0 | 0 | 0 | 0 | 26.6667 | 0
[6 empty] | Max removal | 31 | 99 | 96.9 | 100 | 100 | 100
[6 empty] | Median removal | 5 | 30.3333 | 37.0333 | 60.0667 | 89.0417 | 88
[6 empty] | Number of substances with data (out of 58) | 31 | 56 | 35 | 52 | 50 | 43
[7 empty] | Göbel, A., McArdell, C. S., Joss, A., Siegrist, H., & Giger, W. (2007). Fate of sulfonamides, macrolides, and trimethoprim in different wastewater treatment technologies. Science of the total environment, 372(2-3), 361-371. | Margot, J., Kienle, C., Magnet, A., Weil, M., Rossi, L., De Alencastro, L. F., ... & Barry, D. A. (2013). Treatment of micropollutants in municipal wastewater: ozone or powdered activated carbon?. Science of the total environment, 461, 480-498. | Rosal, R., Rodríguez, A., Perdigón-Melón, J. A., Petre, A., García-Calvo, E., Gómez, M. J., ... & Fernández-Alba, A. R. (2010). Occurrence of emerging pollutants in urban wastewater and their removal through biological treatment followed by ozonation. Water research, 44(2), 578-588. | Loganathan, B., Phillips, M., Mowery, H., & Jones-Lepp, T. L. (2009). Contamination profiles and mass loadings of macrolide antibiotics and illicit drugs from a small urban wastewater treatment plant. Chemosphere, 75(1), 70-77. | Margot, J., Kienle, C., Magnet, A., Weil, M., Rossi, L., De Alencastro, L. F., ... & Barry, D. A. (2013). Treatment of micropollutants in municipal wastewater: ozone or powdered activated carbon?. Science of the total environment, 461, 480-498. | Margot, J., Kienle, C., Magnet, A., Weil, M., Rossi, L., De Alencastro, L. F., ... & Barry, D. A. (2013). Treatment of micropollutants in municipal wastewater: ozone or powdered activated carbon?. Science of the total environment, 461, 480-498.
[7 empty] | Carballa, M., Omil, F., Lema, J. M., Llompart, M., Garcia, C., Rodriguez, I., ... & Ternes, T. (2005). Behaviour of pharmaceuticals and personal care products in a sewage treatment plant of northwest Spain. Water Science and Technology, 52(8), 29-35. | Carballa, M., Omil, F., Lema, J. M., Llompart, M., Garcia, C., Rodriguez, I., ... & Ternes, T. (2005). Behaviour of pharmaceuticals and personal care products in a sewage treatment plant of northwest Spain. Water Science and Technology, 52(8), 29-35. | Zhou, L. J., Ying, G. G., Liu, S., Zhao, J. L., Yang, B., Chen, Z. F., & Lai, H. J. (2013). Occurrence and fate of eleven classes of antibiotics in two typical wastewater treatment plants in South China. Science of the total environment, 452, 365-376. | Zhou, L. J., Ying, G. G., Liu, S., Zhao, J. L., Yang, B., Chen, Z. F., & Lai, H. J. (2013). Occurrence and fate of eleven classes of antibiotics in two typical wastewater treatment plants in South China. Science of the total environment, 452, 365-376. | Huber, M. M., GÖbel, A., Joss, A., Hermann, N., LÖffler, D., McArdell, C. S., ... & von Gunten, U. (2005). Oxidation of pharmaceuticals during ozonation of municipal wastewater effluents: a pilot study. Environmental science & technology, 39(11), 4290-4299. | Sperlich, A., Harder, M., Zietzschmann, F., & Gnirss, R. (2017). Fate of trace organic compounds in granular activated carbon (GAC) adsorbers for drinking water treatment. Water, 9(7), 479.
[7 empty] | Gao, J., Huang, J., Chen, W., Wang, B., Wang, Y., Deng, S., & Yu, G. (2016). Fate and removal of typical pharmaceutical and personal care products in a wastewater treatment plant from Beijing: a mass balance study. Frontiers of Environmental Science & Engineering, 10(3), 491-501. | Gao, J., Huang, J., Chen, W., Wang, B., Wang, Y., Deng, S., & Yu, G. (2016). Fate and removal of typical pharmaceutical and personal care products in a wastewater treatment plant from Beijing: a mass balance study. Frontiers of Environmental Science & Engineering, 10(3), 491-501. | Kulandaivelu, J., Gao, J., Song, Y., Shrestha, S., Li, X., Li, J., ... & Jiang, G. (2019). Removal of pharmaceuticals and illicit drugs from wastewater due to ferric dosing in sewers. Environmental science & technology, 53(11), 6245-6254. | Behera, S. K., Kim, H. W., Oh, J. E., & Park, H. S. (2011). Occurrence and removal of antibiotics, hormones and several other pharmaceuticals in wastewater treatment plants of the largest industrial city of Korea. Science of the total environment, 409(20), 4351-4360. | Behera, S. K., Kim, H. W., Oh, J. E., & Park, H. S. (2011). Occurrence and removal of antibiotics, hormones and several other pharmaceuticals in wastewater treatment plants of the largest industrial city of Korea. Science of the total environment, 409(20), 4351-4360. | Moussavi, G., Alahabadi, A., Yaghmaeian, K., & Eskandari, M. (2013). Preparation, characterization and adsorption potential of the NH4Cl-induced activated carbon for the removal of amoxicillin antibiotic from water. Chemical engineering journal, 217, 119-128.
[7 empty] | Braga, O., Smythe, G. A., Schäfer, A. I., & Feitz, A. J. (2005). Fate of steroid estrogens in Australian inland and coastal wastewater treatment plants. Environmental Science & Technology, 39(9), 3351-3358. | Behera, S. K., Kim, H. W., Oh, J. E., & Park, H. S. (2011). Occurrence and removal of antibiotics, hormones and several other pharmaceuticals in wastewater treatment plants of the largest industrial city of Korea. Science of the total environment, 409(20), 4351-4360. | Bendz, D., Paxéus, N. A., Ginn, T. R., & Loge, F. J. (2005). Occurrence and fate of pharmaceutically active compounds in the environment, a case study: Höje River in Sweden. Journal of hazardous materials, 122(3), 195-204. | Rosario-Ortiz, F. L., Wert, E. C., & Snyder, S. A. (2010). Evaluation of UV/H2O2 treatment for the oxidation of pharmaceuticals in wastewater. Water research, 44(5), 1440-1448. |  | Chauveheid, E., & Scholdis, S. (2019). Removal of pharmaceuticals by a surface water treatment plant. Water Supply, 19(6), 1793-1801.
[7 empty] | Gao, P., Ding, Y., Li, H., & Xagoraraki, I. (2012). Occurrence of pharmaceuticals in a municipal wastewater treatment plant: mass balance and removal processes. Chemosphere, 88(1), 17-24. | Gao, P., Ding, Y., Li, H., & Xagoraraki, I. (2012). Occurrence of pharmaceuticals in a municipal wastewater treatment plant: mass balance and removal processes. Chemosphere, 88(1), 17-24. | Gao, P., Ding, Y., Li, H., & Xagoraraki, I. (2012). Occurrence of pharmaceuticals in a municipal wastewater treatment plant: mass balance and removal processes. Chemosphere, 88(1), 17-24. | Vaiano, V., Matarangolo, M., & Sacco, O. (2018). UV-LEDs floating-bed photoreactor for the removal of caffeine and paracetamol using ZnO supported on polystyrene pellets. Chemical Engineering Journal, 350, 703-713.
[7 empty] | Thomas, P. M., & Foster, G. D. (2005). Tracking acidic pharmaceuticals, caffeine, and triclosan through the wastewater treatment process. Environmental Toxicology and Chemistry: An International Journal, 24(1), 25-30. | Thomas, P. M., & Foster, G. D. (2005). Tracking acidic pharmaceuticals, caffeine, and triclosan through the wastewater treatment process. Environmental Toxicology and Chemistry: An International Journal, 24(1), 25-30. | Bollmann, A. F., Seitz, W., Prasse, C., Lucke, T., Schulz, W., & Ternes, T. (2016). Occurrence and fate of amisulpride, sulpiride, and lamotrigine in municipal wastewater treatment plants with biological treatment and ozonation. Journal of hazardous materials, 320, 204-215. | Thomas, P. M., & Foster, G. D. (2005). Tracking acidic pharmaceuticals, caffeine, and triclosan through the wastewater treatment process. Environmental Toxicology and Chemistry: An International Journal, 24(1), 25-30. | Reungoat, J., Macova, M., Escher, B. I., Carswell, S., Mueller, J. F., & Keller, J. (2010). Removal of micropollutants and reduction of biological activity in a full scale reclamation plant using ozonation and activated carbon filtration. Water research, 44(2), 625-637.
[7 empty] | Ávila, C., Reyes, C., Bayona, J. M., & García, J. (2013). Emerging organic contaminant removal depending on primary treatment and operational strategy in horizontal subsurface flow constructed wetlands: influence of redox. Water research, 47(1), 315-325. | Joss, A., Keller, E., Alder, A. C., Göbel, A., McArdell, C. S., Ternes, T., & Siegrist, H. (2005). Removal of pharmaceuticals and fragrances in biological wastewater treatment. Water research, 39(14), 3139-3152. | Prasse, C., Schlüsener, M. P., Schulz, R., & Ternes, T. A. (2010). Antiviral drugs in wastewater and surface waters: a new pharmaceutical class of environmental relevance?. Environmental science & technology, 44(5), 1728-1735. | Gerrity, D., Gamage, S., Holady, J. C., Mawhinney, D. B., Quiñones, O., Trenholm, R. A., & Snyder, S. A. (2011). Pilot-scale evaluation of ozone and biological activated carbon for trace organic contaminant mitigation and disinfection. Water research, 45(5), 2155-2165. | Gerrity, D., Gamage, S., Holady, J. C., Mawhinney, D. B., Quiñones, O., Trenholm, R. A., & Snyder, S. A. (2011). Pilot-scale evaluation of ozone and biological activated carbon for trace organic contaminant mitigation and disinfection. Water research, 45(5), 2155-2165. | Gerrity, D., Gamage, S., Holady, J. C., Mawhinney, D. B., Quiñones, O., Trenholm, R. A., & Snyder, S. A. (2011). Pilot-scale evaluation of ozone and biological activated carbon for trace organic contaminant mitigation and disinfection. Water research, 45(5), 2155-2165.
[7 empty] | Hijosa-Valsero, M., Matamoros, V., Pedescoll, A., Martin-Villacorta, J., Becares, E., Garcia, J., & Bayona, J. M. (2011). Evaluation of primary treatment and loading regimes in the removal of pharmaceuticals and personal care products from urban wastewaters by subsurface-flow constructed wetlands. International Journal of Environmental and Analytical Chemistry, 91(7-8), 632-653. | Gómez, M. J., Bueno, M. M., Lacorte, S., Fernández-Alba, A. R., & Agüera, A. (2007). Pilot survey monitoring pharmaceuticals and related compounds in a sewage treatment plant located on the Mediterranean coast. Chemosphere, 66(6), 993-1002. | Kim, M., Guerra, P., Shah, A., Parsa, M., Alaee, M., & Smyth, S. A. (2014). Removal of pharmaceuticals and personal care products in a membrane bioreactor wastewater treatment plant. Water science and technology, 69(11), 2221-2229. | Kovalova, L., Siegrist, H., Von Gunten, U., Eugster, J., Hagenbuch, M., Wittmer, A., ... & McArdell, C. S. (2013). Elimination of micropollutants during post-treatment of hospital wastewater with powdered activated carbon, ozone, and UV. Environmental science & technology, 47(14), 7899-7908. | Kovalova, L., Siegrist, H., Von Gunten, U., Eugster, J., Hagenbuch, M., Wittmer, A., ... & McArdell, C. S. (2013). Elimination of micropollutants during post-treatment of hospital wastewater with powdered activated carbon, ozone, and UV. Environmental science & technology, 47(14), 7899-7908. | Kovalova, L., Siegrist, H., Von Gunten, U., Eugster, J., Hagenbuch, M., Wittmer, A., ... & McArdell, C. S. (2013). Elimination of micropollutants during post-treatment of hospital wastewater with powdered activated carbon, ozone, and UV. Environmental science & technology, 47(14), 7899-7908.
[7 empty] | Watkinson, A. J., Murby, E. J., & Costanzo, S. D. (2007). Removal of antibiotics in conventional and advanced wastewater treatment: implications for environmental discharge and wastewater recycling. Water research, 41(18), 4164-4176. | Bourgin, M., Beck, B., Boehler, M., Borowska, E., Fleiner, J., Salhi, E., ... & McArdell, C. S. (2018). Evaluation of a full-scale wastewater treatment plant upgraded with ozonation and biological post-treatments: Abatement of micropollutants, formation of transformation products and oxidation by-products. Water research, 129, 486-498. | Abel, C. D., Sharma, S. K., Maeng, S. K., Magic-Knezev, A., Kennedy, M. D., & Amy, G. L. (2013). Fate of bulk organic matter, nitrogen, and pharmaceutically active compounds in batch experiments simulating soil aquifer treatment (SAT) using primary effluent. Water, Air, & Soil Pollution, 224(7), 1-12. | Gutiérrez, M., Grillini, V., Pavlović, D. M., & Verlicchi, P. (2021). Activated carbon coupled with advanced biological wastewater treatment: A review of the enhancement in micropollutant removal. Science of The Total Environment, 790, 148050. | Bourgin, M., Beck, B., Boehler, M., Borowska, E., Fleiner, J., Salhi, E., ... & McArdell, C. S. (2018). Evaluation of a full-scale wastewater treatment plant upgraded with ozonation and biological post-treatments: Abatement of micropollutants, formation of transformation products and oxidation by-products. Water research, 129, 486-498. | Gutiérrez, M., Grillini, V., Pavlović, D. M., & Verlicchi, P. (2021). Activated carbon coupled with advanced biological wastewater treatment: A review of the enhancement in micropollutant removal. Science of The Total Environment, 790, 148050.
[7 empty] | Abel, C. D., Sharma, S. K., Maeng, S. K., Magic-Knezev, A., Kennedy, M. D., & Amy, G. L. (2013). Fate of bulk organic matter, nitrogen, and pharmaceutically active compounds in batch experiments simulating soil aquifer treatment (SAT) using primary effluent. Water, Air, & Soil Pollution, 224(7), 1-12. | Kasprzyk-Hordern, B., Dinsdale, R. M., & Guwy, A. J. (2009). The removal of pharmaceuticals, personal care products, endocrine disruptors and illicit drugs during wastewater treatment and its impact on the quality of receiving waters. Water research, 43(2), 363-380. | Prasse, C., Schlüsener, M. P., Schulz, R., & Ternes, T. A. (2010). Antiviral drugs in wastewater and surface waters: a new pharmaceutical class of environmental relevance?. Environmental science & technology, 44(5), 1728-1735. | Watkinson, A. J., Murby, E. J., & Costanzo, S. D. (2007). Removal of antibiotics in conventional and advanced wastewater treatment: implications for environmental discharge and wastewater recycling. Water research, 41(18), 4164-4176. | Hollender, J., Zimmermann, S. G., Koepke, S., Krauss, M., McArdell, C. S., Ort, C., ... & Siegrist, H. (2009). Elimination of organic micropollutants in a municipal wastewater treatment plant upgraded with a full-scale post-ozonation followed by sand filtration. Environmental science & technology, 43(20), 7862-7869.
[7 empty] | Guillossou, R., Le Roux, J., Mailler, R., Vulliet, E., Morlay, C., Nauleau, F., ... & Rocher, V. (2019). Organic micropollutants in a large wastewater treatment plant: what are the benefits of an advanced treatment by activated carbon adsorption in comparison to conventional treatment?. Chemosphere, 218, 1050-1060. | Miege, C., Choubert, J. M., Ribeiro, L., Eusèbe, M., & Coquery, M. (2009). Fate of pharmaceuticals and personal care products in wastewater treatment plants–conception of a database and first results. Environmental Pollution, 157(5), 1721-1726. | Vieno, N. M., Härkki, H., Tuhkanen, T., & Kronberg, L. (2007). Occurrence of pharmaceuticals in river water and their elimination in a pilot-scale drinking water treatment plant. Environmental science & technology, 41(14), 5077-5084. | de Lucena, A. L. A., Napoleão, D. C., da Silva, H. V. C., da Rocha Santana, R. M., Ribeiro, B. G., & Duarte, M. M. M. B. (2020). Degradation of the pharmaceuticals lamivudine and zidovudine using advanced oxidation processes. Ciência e Natura, 42, 30. | Vieno, N. M., Härkki, H., Tuhkanen, T., & Kronberg, L. (2007). Occurrence of pharmaceuticals in river water and their elimination in a pilot-scale drinking water treatment plant. Environmental science & technology, 41(14), 5077-5084.
[7 empty] | Gabet-Giraud, V., Miege, C., Choubert, J. M., Ruel, S. M., & Coquery, M. (2010). Occurrence and removal of estrogens and beta blockers by various processes in wastewater treatment plants. Science of the total environment, 408(19), 4257-4269. | Gabet-Giraud, V., Miege, C., Choubert, J. M., Ruel, S. M., & Coquery, M. (2010). Occurrence and removal of estrogens and beta blockers by various processes in wastewater treatment plants. Science of the total environment, 408(19), 4257-4269. | Gabet-Giraud, V., Miege, C., Choubert, J. M., Ruel, S. M., & Coquery, M. (2010). Occurrence and removal of estrogens and beta blockers by various processes in wastewater treatment plants. Science of the total environment, 408(19), 4257-4269. | Gabet-Giraud, V., Miege, C., Choubert, J. M., Ruel, S. M., & Coquery, M. (2010). Occurrence and removal of estrogens and beta blockers by various processes in wastewater treatment plants. Science of the total environment, 408(19), 4257-4269. | Gabet-Giraud, V., Miege, C., Choubert, J. M., Ruel, S. M., & Coquery, M. (2010). Occurrence and removal of estrogens and beta blockers by various processes in wastewater treatment plants. Science of the total environment, 408(19), 4257-4269. | Gabet-Giraud, V., Miege, C., Choubert, J. M., Ruel, S. M., & Coquery, M. (2010). Occurrence and removal of estrogens and beta blockers by various processes in wastewater treatment plants. Science of the total environment, 408(19), 4257-4269.
[7 empty] | Yang, Y., Ok, Y. S., Kim, K. H., Kwon, E. E., & Tsang, Y. F. (2017). Occurrences and removal of pharmaceuticals and personal care products (PPCPs) in drinking water and water/sewage treatment plants: A review. Science of the Total Environment, 596, 303-320. | Bourgin, M., Beck, B., Boehler, M., Borowska, E., Fleiner, J., Salhi, E., ... & McArdell, C. S. (2018). Evaluation of a full-scale wastewater treatment plant upgraded with ozonation and biological post-treatments: Abatement of micropollutants, formation of transformation products and oxidation by-products. Water research, 129, 486-498. |  | Simazaki, D., Fujiwara, J., Manabe, S., Matsuda, M., Asami, M., & Kunikane, S. (2008). Removal of selected pharmaceuticals by chlorination, coagulation–sedimentation and powdered activated carbon treatment. Water Science and Technology, 58(5), 1129-1135. | Bourgin, M., Beck, B., Boehler, M., Borowska, E., Fleiner, J., Salhi, E., ... & McArdell, C. S. (2018). Evaluation of a full-scale wastewater treatment plant upgraded with ozonation and biological post-treatments: Abatement of micropollutants, formation of transformation products and oxidation by-products. Water research, 129, 486-498. | Simazaki, D., Fujiwara, J., Manabe, S., Matsuda, M., Asami, M., & Kunikane, S. (2008). Removal of selected pharmaceuticals by chlorination, coagulation–sedimentation and powdered activated carbon treatment. Water Science and Technology, 58(5), 1129-1135.
[8 empty] | Watkinson, A. J., Murby, E. J., & Costanzo, S. D. (2007). Removal of antibiotics in conventional and advanced wastewater treatment: implications for environmental discharge and wastewater recycling. Water research, 41(18), 4164-4176. |  | Radjenovic, J., Petrovic, M., & Barceló, D. (2007). Analysis of pharmaceuticals in wastewater and removal using a membrane bioreactor. Analytical and bioanalytical chemistry, 387(4), 1365-1377. | Ternes, T. A., Stüber, J., Herrmann, N., McDowell, D., Ried, A., Kampmann, M., & Teiser, B. (2003). Ozonation: a tool for removal of pharmaceuticals, contrast media and musk fragrances from wastewater?. Water research, 37(8), 1976-1982.
[7 empty] | Couto, C. F., Lange, L. C., & Amaral, M. C. (2019). Occurrence, fate and removal of pharmaceutically active compounds (PhACs) in water and wastewater treatment plants—A review. Journal of Water Process Engineering, 32, 100927. | Couto, C. F., Lange, L. C., & Amaral, M. C. (2019). Occurrence, fate and removal of pharmaceutically active compounds (PhACs) in water and wastewater treatment plants—A review. Journal of Water Process Engineering, 32, 100927. | Ternes, T. A., Meisenheimer, M., McDowell, D., Sacher, F., Brauch, H. J., Haist-Gulde, B., ... & Zulei-Seibert, N. (2002). Removal of pharmaceuticals during drinking water treatment. Environmental science & technology, 36(17), 3855-3863. | Couto, C. F., Lange, L. C., & Amaral, M. C. (2019). Occurrence, fate and removal of pharmaceutically active compounds (PhACs) in water and wastewater treatment plants—A review. Journal of Water Process Engineering, 32, 100927. | Ternes, T. A., Meisenheimer, M., McDowell, D., Sacher, F., Brauch, H. J., Haist-Gulde, B., ... & Zulei-Seibert, N. (2002). Removal of pharmaceuticals during drinking water treatment. Environmental science & technology, 36(17), 3855-3863.
[8 empty] | Castiglioni, S., Bagnati, R., Fanelli, R., Pomati, F., Calamari, D., & Zuccato, E. (2006). Removal of pharmaceuticals in sewage treatment plants in Italy. Environmental science & technology, 40(1), 357-363. |  | Sulaiman, S., Khamis, M., Nir, S., Lelario, F., Scrano, L., Bufo, S. A., ... & Karaman, R. (2015). Stability and removal of atorvastatin, rosuvastatin and simvastatin from wastewater. Environmental technology, 36(24), 3232-3242. | Sauter, D., Dąbrowska, A., Bloch, R., Stapf, M., Miehe, U., Sperlich, A., ... & Wintgens, T. (2021). Deep-bed filters as post-treatment for ozonation in tertiary municipal wastewater treatment: impact of design and operation on treatment goals. Environmental Science: Water Research & Technology, 7(1), 197-211.
[8 empty] | Lindqvist, N., Tuhkanen, T., & Kronberg, L. (2005). Occurrence of acidic pharmaceuticals in raw and treated sewages and in receiving waters. Water research, 39(11), 2219-2228. | Lindqvist, N., Tuhkanen, T., & Kronberg, L. (2005). Occurrence of acidic pharmaceuticals in raw and treated sewages and in receiving waters. Water research, 39(11), 2219-2228. | Roberts, P. H., & Thomas, K. V. (2006). The occurrence of selected pharmaceuticals in wastewater effluent and surface waters of the lower Tyne catchment. Science of the Total Environment, 356(1-3), 143-153. | Ternes, T. A., Prasse, C., Eversloh, C. L., Knopp, G., Cornel, P., Schulte-Oehlmann, U., ... & Oehlmann, J. (2017). Integrated evaluation concept to assess the efficacy of advanced wastewater treatment processes for the elimination of micropollutants and pathogens. Environmental science & technology, 51(1), 308-319.
[7 empty] | Zhou, J. L., Zhang, Z. L., Banks, E., Grover, D., & Jiang, J. (2009). Pharmaceutical residues in wastewater treatment works effluents and their impact on receiving river water. Journal of Hazardous Materials, 166(2-3), 655-661. | Zhou, J. L., Zhang, Z. L., Banks, E., Grover, D., & Jiang, J. (2009). Pharmaceutical residues in wastewater treatment works effluents and their impact on receiving river water. Journal of Hazardous Materials, 166(2-3), 655-661. |  | Kim, M., Guerra, P., Shah, A., Parsa, M., Alaee, M., & Smyth, S. A. (2014). Removal of pharmaceuticals and personal care products in a membrane bioreactor wastewater treatment plant. Water science and technology, 69(11), 2221-2229. | Lin, A. Y. C., Hsueh, J. H. F., & Hong, P. K. (2015). Removal of antineoplastic drugs cyclophosphamide, ifosfamide, and 5-fluorouracil and a vasodilator drug pentoxifylline from wastewaters by ozonation. Environmental Science and Pollution Research, 22(1), 508-515.
[8 empty] | K'oreje, K. O., Vergeynst, L., Ombaka, D., De Wispelaere, P., Okoth, M., Van Langenhove, H., & Demeestere, K. (2016). Occurrence patterns of pharmaceutical residues in wastewater, surface water and groundwater of Nairobi and Kisumu city, Kenya. Chemosphere, 149, 238-244. | Lofrano, G., Libralato, G., Casaburi, A., Siciliano, A., Iannece, P., Guida, M., ... & Carotenuto, M. (2018). Municipal wastewater spiramycin removal by conventional treatments and heterogeneous photocatalysis. Science of the total environment, 624, 461-469. | Lofrano, G., Libralato, G., Casaburi, A., Siciliano, A., Iannece, P., Guida, M., ... & Carotenuto, M. (2018). Municipal wastewater spiramycin removal by conventional treatments and heterogeneous photocatalysis. Science of the total environment, 624, 461-469. | Snyder, S. A., Wert, E. C., Rexing, D. J., Zegers, R. E., & Drury, D. D. (2006). Ozone oxidation of endocrine disruptors and pharmaceuticals in surface water and wastewater. Ozone: Science and Engineering, 28(6), 445-460.
[8 empty] | Abafe, O. A., Späth, J., Fick, J., Jansson, S., Buckley, C., Stark, A., ... & Martincigh, B. S. (2018). LC-MS/MS determination of antiretroviral drugs in influents and effluents from wastewater treatment plants in KwaZulu-Natal, South Africa. Chemosphere, 200, 660-670. | Abafe, O. A., Späth, J., Fick, J., Jansson, S., Buckley, C., Stark, A., ... & Martincigh, B. S. (2018). LC-MS/MS determination of antiretroviral drugs in influents and effluents from wastewater treatment plants in KwaZulu-Natal, South Africa. Chemosphere, 200, 660-670. | Lin, A. Y. C., Yu, T. H., & Lateef, S. K. (2009). Removal of pharmaceuticals in secondary wastewater treatment processes in Taiwan. Journal of hazardous materials, 167(1-3), 1163-1169. | Chauveheid, E., & Scholdis, S. (2019). Removal of pharmaceuticals by a surface water treatment plant. Water Supply, 19(6), 1793-1801.
[8 empty] | Radjenovic, J., Petrovic, M., & Barceló, D. (2007). Analysis of pharmaceuticals in wastewater and removal using a membrane bioreactor. Analytical and bioanalytical chemistry, 387(4), 1365-1377. |  | Matamoros, V., & Salvadó, V. (2013). Evaluation of a coagulation/flocculation-lamellar clarifier and filtration-UV-chlorination reactor for removing emerging contaminants at full-scale wastewater treatment plants in Spain. Journal of environmental management, 117, 96-102. | Ofrydopoulou, A., Nannou, C., Evgenidou, E., Christodoulou, A., & Lambropoulou, D. (2022). Assessment of a wide array of organic micropollutants of emerging concern in wastewater treatment plants in Greece: Occurrence, removals, mass loading and potential risks. Science of the Total Environment, 802, 149860.
[8 empty] | Bueno, M. M., Gomez, M. J., Herrera, S., Hernando, M. D., Agüera, A., & Fernández-Alba, A. R. (2012). Occurrence and persistence of organic emerging contaminants and priority pollutants in five sewage treatment plants of Spain: two years pilot survey monitoring. Environmental Pollution, 164, 267-273. |  | Cuerda-Correa, E. M., Alexandre-Franco, M. F., & Fernández-González, C. (2019). Advanced oxidation processes for the removal of antibiotics from water. An overview. Water, 12(1), 102. | Cuerda-Correa, E. M., Alexandre-Franco, M. F., & Fernández-González, C. (2019). Advanced oxidation processes for the removal of antibiotics from water. An overview. Water, 12(1), 102.
[8 empty] | Bueno, M. M., Gomez, M. J., Herrera, S., Hernando, M. D., Agüera, A., & Fernández-Alba, A. R. (2012). Occurrence and persistence of organic emerging contaminants and priority pollutants in five sewage treatment plants of Spain: two years pilot survey monitoring. Environmental Pollution, 164, 267-273. |  | Ofrydopoulou, A., Nannou, C., Evgenidou, E., Christodoulou, A., & Lambropoulou, D. (2022). Assessment of a wide array of organic micropollutants of emerging concern in wastewater treatment plants in Greece: Occurrence, removals, mass loading and potential risks. Science of the Total Environment, 802, 149860.
Roberts, P. H., & Thomas, K. V. (2006). The occurrence of selected pharmaceuticals in wastewater effluent and surface waters of the lower Tyne catchment. Science of the Total Environment, 356(1-3), 143-153.
Gracia-Lor, E., Sancho, J. V., Serrano, R., & Hernández, F. (2012). Occurrence and removal of pharmaceuticals in wastewater treatment plants at the Spanish Mediterranean area of Valencia. Chemosphere, 87(5), 453-462.
Van De Steene, J. C., Stove, C. P., & Lambert, W. E. (2010). A field study on 8 pharmaceuticals and 1 pesticide in Belgium: removal rates in waste water treatment plants and occurrence in surface water. Science of the Total Environment, 408(16), 3448-3453.
Castiglioni, S., Bagnati, R., Fanelli, R., Pomati, F., Calamari, D., & Zuccato, E. (2006). Removal of pharmaceuticals in sewage treatment plants in Italy. Environmental science & technology, 40(1), 357-363.
Lin, A. Y. C., Yu, T. H., & Lateef, S. K. (2009). Removal of pharmaceuticals in secondary wastewater treatment processes in Taiwan. Journal of hazardous materials, 167(1-3), 1163-1169.
Kosjek, T., Heath, E., & Kompare, B. (2007). Removal of pharmaceutical residues in a pilot wastewater treatment plant. Analytical and bioanalytical chemistry, 387(4), 1379-1387.
Guillossou, R., Le Roux, J., Mailler, R., Vulliet, E., Morlay, C., Nauleau, F., ... & Rocher, V. (2019). Organic micropollutants in a large wastewater treatment plant: what are the benefits of an advanced treatment by activated carbon adsorption in comparison to conventional treatment?. Chemosphere, 218, 1050-1060.
Yang, Y., Ok, Y. S., Kim, K. H., Kwon, E. E., & Tsang, Y. F. (2017). Occurrences and removal of pharmaceuticals and personal care products (PPCPs) in drinking water and water/sewage treatment plants: A review. Science of the Total Environment, 596, 303-320.

## Reference_List
Behera, S. K., Kim, H. W., Oh, J. E., & Park, H. S. (2011). Occurrence and removal of antibiotics, hormones and several other pharmaceuticals in wastewater treatment plants of the largest industrial city of Korea. Science of the total environment, 409(20), 4351-4360.
Abafe, O. A., Späth, J., Fick, J., Jansson, S., Buckley, C., Stark, A., ... & Martincigh, B. S. (2018). LC-MS/MS determination of antiretroviral drugs in influents and effluents from wastewater treatment plants in KwaZulu-Natal, South Africa. Chemosphere, 200, 660-670.
Abel, C. D., Sharma, S. K., Maeng, S. K., Magic-Knezev, A., Kennedy, M. D., & Amy, G. L. (2013). Fate of bulk organic matter, nitrogen, and pharmaceutically active compounds in batch experiments simulating soil aquifer treatment (SAT) using primary effluent. Water, Air, & Soil Pollution, 224(7), 1-12.
Ávila, C., Reyes, C., Bayona, J. M., & García, J. (2013). Emerging organic contaminant removal depending on primary treatment and operational strategy in horizontal subsurface flow constructed wetlands: influence of redox. Water research, 47(1), 315-325.
Bendz, D., Paxéus, N. A., Ginn, T. R., & Loge, F. J. (2005). Occurrence and fate of pharmaceutically active compounds in the environment, a case study: Höje River in Sweden. Journal of hazardous materials, 122(3), 195-204.
Bollmann, A. F., Seitz, W., Prasse, C., Lucke, T., Schulz, W., & Ternes, T. (2016). Occurrence and fate of amisulpride, sulpiride, and lamotrigine in municipal wastewater treatment plants with biological treatment and ozonation. Journal of hazardous materials, 320, 204-215.
Bourgin, M., Beck, B., Boehler, M., Borowska, E., Fleiner, J., Salhi, E., ... & McArdell, C. S. (2018). Evaluation of a full-scale wastewater treatment plant upgraded with ozonation and biological post-treatments: Abatement of micropollutants, formation of transformation products and oxidation by-products. Water research, 129, 486-498.
Braga, O., Smythe, G. A., Schäfer, A. I., & Feitz, A. J. (2005). Fate of steroid estrogens in Australian inland and coastal wastewater treatment plants. Environmental Science & Technology, 39(9), 3351-3358.
Bueno, M. M., Gomez, M. J., Herrera, S., Hernando, M. D., Agüera, A., & Fernández-Alba, A. R. (2012). Occurrence and persistence of organic emerging contaminants and priority pollutants in five sewage treatment plants of Spain: two years pilot survey monitoring. Environmental Pollution, 164, 267-273.
Carballa, M., Omil, F., Lema, J. M., Llompart, M., Garcia, C., Rodriguez, I., ... & Ternes, T. (2005). Behaviour of pharmaceuticals and personal care products in a sewage treatment plant of northwest Spain. Water Science and Technology, 52(8), 29-35.
Castiglioni, S., Bagnati, R., Fanelli, R., Pomati, F., Calamari, D., & Zuccato, E. (2006). Removal of pharmaceuticals in sewage treatment plants in Italy. Environmental science & technology, 40(1), 357-363.
Castiglioni, S., Bagnati, R., Fanelli, R., Pomati, F., Calamari, D., & Zuccato, E. (2006). Removal of pharmaceuticals in sewage treatment plants in Italy. Environmental science & technology, 40(1), 357-363.
Chauveheid, E., & Scholdis, S. (2019). Removal of pharmaceuticals by a surface water treatment plant. Water Supply, 19(6), 1793-1801.
Couto, C. F., Lange, L. C., & Amaral, M. C. (2019). Occurrence, fate and removal of pharmaceutically active compounds (PhACs) in water and wastewater treatment plants—A review. Journal of Water Process Engineering, 32, 100927.
Cuerda-Correa, E. M., Alexandre-Franco, M. F., & Fernández-González, C. (2019). Advanced oxidation processes for the removal of antibiotics from water. An overview. Water, 12(1), 102.
Gabet-Giraud, V., Miege, C., Choubert, J. M., Ruel, S. M., & Coquery, M. (2010). Occurrence and removal of estrogens and beta blockers by various processes in wastewater treatment plants. Science of the total environment, 408(19), 4257-4269.
Gao, J., Huang, J., Chen, W., Wang, B., Wang, Y., Deng, S., & Yu, G. (2016). Fate and removal of typical pharmaceutical and personal care products in a wastewater treatment plant from Beijing: a mass balance study. Frontiers of Environmental Science & Engineering, 10(3), 491-501.
Gao, P., Ding, Y., Li, H., & Xagoraraki, I. (2012). Occurrence of pharmaceuticals in a municipal wastewater treatment plant: mass balance and removal processes. Chemosphere, 88(1), 17-24.
Gerrity, D., Gamage, S., Holady, J. C., Mawhinney, D. B., Quiñones, O., Trenholm, R. A., & Snyder, S. A. (2011). Pilot-scale evaluation of ozone and biological activated carbon for trace organic contaminant mitigation and disinfection. Water research, 45(5), 2155-2165.
Göbel, A., McArdell, C. S., Joss, A., Siegrist, H., & Giger, W. (2007). Fate of sulfonamides, macrolides, and trimethoprim in different wastewater treatment technologies. Science of the total environment, 372(2-3), 361-371.
Gómez, M. J., Bueno, M. M., Lacorte, S., Fernández-Alba, A. R., & Agüera, A. (2007). Pilot survey monitoring pharmaceuticals and related compounds in a sewage treatment plant located on the Mediterranean coast. Chemosphere, 66(6), 993-1002.
Gracia-Lor, E., Sancho, J. V., Serrano, R., & Hernández, F. (2012). Occurrence and removal of pharmaceuticals in wastewater treatment plants at the Spanish Mediterranean area of Valencia. Chemosphere, 87(5), 453-462.
Guillossou, R., Le Roux, J., Mailler, R., Vulliet, E., Morlay, C., Nauleau, F., ... & Rocher, V. (2019). Organic micropollutants in a large wastewater treatment plant: what are the benefits of an advanced treatment by activated carbon adsorption in comparison to conventional treatment?. Chemosphere, 218, 1050-1060.
Hijosa-Valsero, M., Matamoros, V., Pedescoll, A., Martin-Villacorta, J., Becares, E., Garcia, J., & Bayona, J. M. (2011). Evaluation of primary treatment and loading regimes in the removal of pharmaceuticals and personal care products from urban wastewaters by subsurface-flow constructed wetlands. International Journal of Environmental and Analytical Chemistry, 91(7-8), 632-653.
Huber, M. M., GÖbel, A., Joss, A., Hermann, N., LÖffler, D., McArdell, C. S., ... & von Gunten, U. (2005). Oxidation of pharmaceuticals during ozonation of municipal wastewater effluents: a pilot study. Environmental science & technology, 39(11), 4290-4299.
Joss, A., Keller, E., Alder, A. C., Göbel, A., McArdell, C. S., Ternes, T., & Siegrist, H. (2005). Removal of pharmaceuticals and fragrances in biological wastewater treatment. Water research, 39(14), 3139-3152.
Kasprzyk-Hordern, B., Dinsdale, R. M., & Guwy, A. J. (2009). The removal of pharmaceuticals, personal care products, endocrine disruptors and illicit drugs during wastewater treatment and its impact on the quality of receiving waters. Water research, 43(2), 363-380.
Kim, M., Guerra, P., Shah, A., Parsa, M., Alaee, M., & Smyth, S. A. (2014). Removal of pharmaceuticals and personal care products in a membrane bioreactor wastewater treatment plant. Water science and technology, 69(11), 2221-2229.
K'oreje, K. O., Vergeynst, L., Ombaka, D., De Wispelaere, P., Okoth, M., Van Langenhove, H., & Demeestere, K. (2016). Occurrence patterns of pharmaceutical residues in wastewater, surface water and groundwater of Nairobi and Kisumu city, Kenya. Chemosphere, 149, 238-244.
Kosjek, T., Heath, E., & Kompare, B. (2007). Removal of pharmaceutical residues in a pilot wastewater treatment plant. Analytical and bioanalytical chemistry, 387(4), 1379-1387.
Kovalova, L., Siegrist, H., Von Gunten, U., Eugster, J., Hagenbuch, M., Wittmer, A., ... & McArdell, C. S. (2013). Elimination of micropollutants during post-treatment of hospital wastewater with powdered activated carbon, ozone, and UV. Environmental science & technology, 47(14), 7899-7908.
Kulandaivelu, J., Gao, J., Song, Y., Shrestha, S., Li, X., Li, J., ... & Jiang, G. (2019). Removal of pharmaceuticals and illicit drugs from wastewater due to ferric dosing in sewers. Environmental science & technology, 53(11), 6245-6254.
Lin, A. Y. C., Yu, T. H., & Lateef, S. K. (2009). Removal of pharmaceuticals in secondary wastewater treatment processes in Taiwan. Journal of hazardous materials, 167(1-3), 1163-1169.
Lindqvist, N., Tuhkanen, T., & Kronberg, L. (2005). Occurrence of acidic pharmaceuticals in raw and treated sewages and in receiving waters. Water research, 39(11), 2219-2228.
Lofrano, G., Libralato, G., Casaburi, A., Siciliano, A., Iannece, P., Guida, M., ... & Carotenuto, M. (2018). Municipal wastewater spiramycin removal by conventional treatments and heterogeneous photocatalysis. Science of the total environment, 624, 461-469.
Loganathan, B., Phillips, M., Mowery, H., & Jones-Lepp, T. L. (2009). Contamination profiles and mass loadings of macrolide antibiotics and illicit drugs from a small urban wastewater treatment plant. Chemosphere, 75(1), 70-77.
Margot, J., Kienle, C., Magnet, A., Weil, M., Rossi, L., De Alencastro, L. F., ... & Barry, D. A. (2013). Treatment of micropollutants in municipal wastewater: ozone or powdered activated carbon?. Science of the total environment, 461, 480-498.
Matamoros, V., & Salvadó, V. (2013). Evaluation of a coagulation/flocculation-lamellar clarifier and filtration-UV-chlorination reactor for removing emerging contaminants at full-scale wastewater treatment plants in Spain. Journal of environmental management, 117, 96-102.
Miege, C., Choubert, J. M., Ribeiro, L., Eusèbe, M., & Coquery, M. (2009). Fate of pharmaceuticals and personal care products in wastewater treatment plants–conception of a database and first results. Environmental Pollution, 157(5), 1721-1726.
Moussavi, G., Alahabadi, A., Yaghmaeian, K., & Eskandari, M. (2013). Preparation, characterization and adsorption potential of the NH4Cl-induced activated carbon for the removal of amoxicillin antibiotic from water. Chemical engineering journal, 217, 119-128.
Ofrydopoulou, A., Nannou, C., Evgenidou, E., Christodoulou, A., & Lambropoulou, D. (2022). Assessment of a wide array of organic micropollutants of emerging concern in wastewater treatment plants in Greece: Occurrence, removals, mass loading and potential risks. Science of the Total Environment, 802, 149860.
Ottmar, K. J., Colosi, L. M., & Smith, J. A. (2012). Fate and transport of atorvastatin and simvastatin drugs during conventional wastewater treatment. Chemosphere, 88(10), 1184-1189.
Prasse, C., Schlüsener, M. P., Schulz, R., & Ternes, T. A. (2010). Antiviral drugs in wastewater and surface waters: a new pharmaceutical class of environmental relevance?. Environmental science & technology, 44(5), 1728-1735.
Radjenovic, J., Petrovic, M., & Barceló, D. (2007). Analysis of pharmaceuticals in wastewater and removal using a membrane bioreactor. Analytical and bioanalytical chemistry, 387(4), 1365-1377.
Reungoat, J., Macova, M., Escher, B. I., Carswell, S., Mueller, J. F., & Keller, J. (2010). Removal of micropollutants and reduction of biological activity in a full scale reclamation plant using ozonation and activated carbon filtration. Water research, 44(2), 625-637.
Roberts, P. H., & Thomas, K. V. (2006). The occurrence of selected pharmaceuticals in wastewater effluent and surface waters of the lower Tyne catchment. Science of the Total Environment, 356(1-3), 143-153.
Rosal, R., Rodríguez, A., Perdigón-Melón, J. A., Petre, A., García-Calvo, E., Gómez, M. J., ... & Fernández-Alba, A. R. (2010). Occurrence of emerging pollutants in urban wastewater and their removal through biological treatment followed by ozonation. Water research, 44(2), 578-588.
Rosario-Ortiz, F. L., Wert, E. C., & Snyder, S. A. (2010). Evaluation of UV/H2O2 treatment for the oxidation of pharmaceuticals in wastewater. Water research, 44(5), 1440-1448.
Simazaki, D., Fujiwara, J., Manabe, S., Matsuda, M., Asami, M., & Kunikane, S. (2008). Removal of selected pharmaceuticals by chlorination, coagulation–sedimentation and powdered activated carbon treatment. Water Science and Technology, 58(5), 1129-1135.
Snyder, S. A., Wert, E. C., Rexing, D. J., Zegers, R. E., & Drury, D. D. (2006). Ozone oxidation of endocrine disruptors and pharmaceuticals in surface water and wastewater. Ozone: Science and Engineering, 28(6), 445-460.
Ternes, T. A., Meisenheimer, M., McDowell, D., Sacher, F., Brauch, H. J., Haist-Gulde, B., ... & Zulei-Seibert, N. (2002). Removal of pharmaceuticals during drinking water treatment. Environmental science & technology, 36(17), 3855-3863.
Ternes, T. A., Stüber, J., Herrmann, N., McDowell, D., Ried, A., Kampmann, M., & Teiser, B. (2003). Ozonation: a tool for removal of pharmaceuticals, contrast media and musk fragrances from wastewater?. Water research, 37(8), 1976-1982.
Thomas, P. M., & Foster, G. D. (2005). Tracking acidic pharmaceuticals, caffeine, and triclosan through the wastewater treatment process. Environmental Toxicology and Chemistry: An International Journal, 24(1), 25-30.
Vaiano, V., Matarangolo, M., & Sacco, O. (2018). UV-LEDs floating-bed photoreactor for the removal of caffeine and paracetamol using ZnO supported on polystyrene pellets. Chemical Engineering Journal, 350, 703-713.
Van De Steene, J. C., Stove, C. P., & Lambert, W. E. (2010). A field study on 8 pharmaceuticals and 1 pesticide in Belgium: removal rates in waste water treatment plants and occurrence in surface water. Science of the Total Environment, 408(16), 3448-3453.
Vieno, N. M., Härkki, H., Tuhkanen, T., & Kronberg, L. (2007). Occurrence of pharmaceuticals in river water and their elimination in a pilot-scale drinking water treatment plant. Environmental science & technology, 41(14), 5077-5084.
Watkinson, A. J., Murby, E. J., & Costanzo, S. D. (2007). Removal of antibiotics in conventional and advanced wastewater treatment: implications for environmental discharge and wastewater recycling. Water research, 41(18), 4164-4176.
Yang, Y., Ok, Y. S., Kim, K. H., Kwon, E. E., & Tsang, Y. F. (2017). Occurrences and removal of pharmaceuticals and personal care products (PPCPs) in drinking water and water/sewage treatment plants: A review. Science of the Total Environment, 596, 303-320.
Zhou, J. L., Zhang, Z. L., Banks, E., Grover, D., & Jiang, J. (2009). Pharmaceutical residues in wastewater treatment works effluents and their impact on receiving river water. Journal of Hazardous Materials, 166(2-3), 655-661.
Zhou, L. J., Ying, G. G., Liu, S., Zhao, J. L., Yang, B., Chen, Z. F., & Lai, H. J. (2013). Occurrence and fate of eleven classes of antibiotics in two typical wastewater treatment plants in South China. Science of the total environment, 452, 365-376.
For CAS, SMILES and MW:
Drugbank.com
PubChem